## Precision & MU
| A | B | C | D
n | 0
k | #NUM!
Reproducability sd | #DIV/0!
Mean | #REF!
Precision | #DIV/0!
Bias | #REF!
UoBias | #REF!
Significance | #REF!
MU ± | #REF!
Replicates | #NUM!
Rounding | #DIV/0!

## Repeatability
|  |  |  | n | 50
|  |  |  | k | 2.0086
|  |  |  | Repeatability sd | 1.9793
|  |  |  | Mean | 99.1483
|  |  |  | Duplicates | 5.6224
|  |  |  | Rounding | 0.1
Matrix | Ref | REPORTED_UNITS | A | B | Diff | sqr | Omit | Outlier
Gunge | Blurk | mg/kg | 99.8575 | 110 | -10.1425 | 102.8701 | No | No
Gunge | Blurk | mg/kg | 98.622 | 104.9865 | -6.3645 | 40.507 | No | No
Gunge | Blurk | mg/kg | 98.0903 | 102.6225 | -4.5322 | 20.5412 | No | No
Gunge | Blurk | mg/kg | 99.2694 | 103.5204 | -4.2509 | 18.0705 | No | No
Gunge | Blurk | mg/kg | 96.7364 | 100.9188 | -4.1824 | 17.4925 | No | No
Gunge | Blurk | mg/kg | 95.4307 | 99.4884 | -4.0576 | 16.4645 | No | No
Gunge | Blurk | mg/kg | 97.9265 | 101.6028 | -3.6763 | 13.515 | No | No
Gunge | Blurk | mg/kg | 99.3407 | 102.4025 | -3.0619 | 9.375 | No | No
Gunge | Blurk | mg/kg | 97.8048 | 100.526 | -2.7212 | 7.4051 | No | No
Gunge | Blurk | mg/kg | 99.7412 | 102.3054 | -2.5642 | 6.575 | No | No
Gunge | Blurk | mg/kg | 98.3246 | 100.866 | -2.5414 | 6.4589 | No | No
Gunge | Blurk | mg/kg | 100.3265 | 102.6667 | -2.3402 | 5.4766 | No | No
Gunge | Blurk | mg/kg | 98.1693 | 100.3261 | -2.1568 | 4.6516 | No | No
Gunge | Blurk | mg/kg | 100.738 | 102.6369 | -1.8989 | 3.6059 | No | No
Gunge | Blurk | mg/kg | 99.9054 | 101.7726 | -1.8672 | 3.4865 | No | No
Gunge | Blurk | mg/kg | 98.5789 | 100.1088 | -1.5299 | 2.3407 | No | No
Gunge | Blurk | mg/kg | 99.1953 | 100.4752 | -1.2799 | 1.6382 | No | No
Gunge | Blurk | mg/kg | 99.3914 | 100.4377 | -1.0463 | 1.0947 | No | No
Gunge | Blurk | mg/kg | 99.3043 | 100.0392 | -0.73488 | 0.54005 | No | No
Gunge | Blurk | mg/kg | 98.4704 | 99.1201 | -0.64976 | 0.42219 | No | No
Gunge | Blurk | mg/kg | 100.6214 | 101.0287 | -0.40734 | 0.16592 | No | No
Gunge | Blurk | mg/kg | 99.844 | 100.2181 | -0.37411 | 0.13996 | No | No
Gunge | Blurk | mg/kg | 99.244 | 99.6154 | -0.37138 | 0.13792 | No | No
Gunge | Blurk | mg/kg | 101.6121 | 101.9819 | -0.36977 | 0.13673 | No | No
Gunge | Blurk | mg/kg | 100.337 | 100.5687 | -0.23166 | 0.053666 | No | No
Gunge | Blurk | mg/kg | 98.6311 | 98.7544 | -0.12327 | 0.015195 | No | No
Gunge | Blurk | mg/kg | 100.7759 | 100.7594 | 0.016493 | 0.00027203 | No | No
Gunge | Blurk | mg/kg | 99.8642 | 99.7062 | 0.15802 | 0.024971 | No | No
Gunge | Blurk | mg/kg | 100.5878 | 100.1819 | 0.40592 | 0.16477 | No | No
Gunge | Blurk | mg/kg | 100.1929 | 99.7825 | 0.41041 | 0.16844 | No | No
Gunge | Blurk | mg/kg | 99.466 | 98.8447 | 0.62136 | 0.38609 | No | No
Gunge | Blurk | mg/kg | 100.3588 | 99.6443 | 0.71451 | 0.51052 | No | No
Gunge | Blurk | mg/kg | 98.2957 | 97.4233 | 0.87239 | 0.76106 | No | No
Gunge | Blurk | mg/kg | 101.1991 | 100.3042 | 0.8949 | 0.80085 | No | No
Gunge | Blurk | mg/kg | 99.5599 | 98.6618 | 0.89808 | 0.80655 | No | No
Gunge | Blurk | mg/kg | 99.9078 | 98.8601 | 1.0478 | 1.0978 | No | No
Gunge | Blurk | mg/kg | 99.3198 | 97.9402 | 1.3797 | 1.9035 | No | No
Gunge | Blurk | mg/kg | 99.4602 | 98.0494 | 1.4108 | 1.9903 | No | No
Gunge | Blurk | mg/kg | 101.9868 | 100.4765 | 1.5103 | 2.2809 | No | No
Gunge | Blurk | mg/kg | 99.4896 | 97.8155 | 1.6741 | 2.8026 | No | No
Gunge | Blurk | mg/kg | 100.9851 | 98.7821 | 2.203 | 4.853 | No | No
Gunge | Blurk | mg/kg | 101.6806 | 99.3731 | 2.3074 | 5.3243 | No | No
Gunge | Blurk | mg/kg | 99.6368 | 97.0986 | 2.5381 | 6.442 | No | No
Gunge | Blurk | mg/kg | 101.8739 | 99.2699 | 2.604 | 6.7809 | No | No
Gunge | Blurk | mg/kg | 100.6438 | 97.8324 | 2.8114 | 7.9038 | No | No
Gunge | Blurk | mg/kg | 101.4699 | 98.6263 | 2.8436 | 8.0859 | No | No
Gunge | Blurk | mg/kg | 100.3864 | 97.4123 | 2.9742 | 8.8457 | No | No
Gunge | Blurk | mg/kg | 100.0502 | 96.7855 | 3.2647 | 10.6583 | No | No
Gunge | Blurk | mg/kg | 102.397 | 98.8082 | 3.5888 | 12.8794 | No | No
Gunge | Blurk | mg/kg | 104.063 | 99.2543 | 4.8087 | 23.1233 | No | No

## Reproducibility
|  |  |  | n | 50
|  |  |  | k | 2.0086
|  |  |  | Reproducibility sd | 4.2903
|  |  |  | Mean | 96.905
|  |  |  | Replicates | 12.1867
|  |  |  | Rounding | 1
Matrix | Ref | REPORTED_UNITS | A | B | Diff | sqr | Omit | Outlier
Gunge | Blurk | mg/kg | 92.4128 | 107.5458 | -15.133 | 229.0074 | No | No
Gunge | Blurk | mg/kg | 100.0641 | 110 | -9.9359 | 98.7221 | No | No
Gunge | Blurk | mg/kg | 90.6974 | 100.2159 | -9.5185 | 90.6018 | No | No
Gunge | Blurk | mg/kg | 95.7796 | 103.5593 | -7.7797 | 60.5244 | No | No
Gunge | Blurk | mg/kg | 98.1689 | 104.0057 | -5.8367 | 34.0675 | No | No
Gunge | Blurk | mg/kg | 95.1073 | 100.6383 | -5.5309 | 30.5914 | No | No
Gunge | Blurk | mg/kg | 99.1003 | 104.4795 | -5.3792 | 28.9356 | No | No
Gunge | Blurk | mg/kg | 94.6498 | 99.5548 | -4.905 | 24.0595 | No | No
Gunge | Blurk | mg/kg | 96.0776 | 100.468 | -4.3905 | 19.2762 | No | No
Gunge | Blurk | mg/kg | 94.7702 | 99.1557 | -4.3854 | 19.232 | No | No
Gunge | Blurk | mg/kg | 99.6133 | 103.6187 | -4.0055 | 16.0436 | No | No
Gunge | Blurk | mg/kg | 98.4454 | 102.2903 | -3.8449 | 14.7831 | No | No
Gunge | Blurk | mg/kg | 97.8769 | 101.5658 | -3.6889 | 13.608 | No | No
Gunge | Blurk | mg/kg | 95.0796 | 98.2063 | -3.1267 | 9.7761 | No | No
Gunge | Blurk | mg/kg | 99.1709 | 101.8315 | -2.6606 | 7.0788 | No | No
Gunge | Blurk | mg/kg | 102.1409 | 104.7506 | -2.6097 | 6.8108 | No | No
Gunge | Blurk | mg/kg | 93.0738 | 95.4502 | -2.3764 | 5.6474 | No | No
Gunge | Blurk | mg/kg | 98.546 | 100.8475 | -2.3015 | 5.2968 | No | No
Gunge | Blurk | mg/kg | 93.2136 | 95.4573 | -2.2437 | 5.0344 | No | No
Gunge | Blurk | mg/kg | 94.0174 | 95.2322 | -1.2148 | 1.4759 | No | No
Gunge | Blurk | mg/kg | 97.6601 | 98.3155 | -0.65536 | 0.4295 | No | No
Gunge | Blurk | mg/kg | 98.7614 | 99.3261 | -0.56472 | 0.31891 | No | No
Gunge | Blurk | mg/kg | 97.477 | 97.764 | -0.28699 | 0.082365 | No | No
Gunge | Blurk | mg/kg | 98.0151 | 98.2098 | -0.19477 | 0.037937 | No | No
Gunge | Blurk | mg/kg | 98.8741 | 98.4726 | 0.40145 | 0.16116 | No | No
Gunge | Blurk | mg/kg | 101.9044 | 101.3406 | 0.56383 | 0.3179 | No | No
Gunge | Blurk | mg/kg | 97.3967 | 96.5751 | 0.82159 | 0.67501 | No | No
Gunge | Blurk | mg/kg | 95.2463 | 94.3743 | 0.87202 | 0.76042 | No | No
Gunge | Blurk | mg/kg | 101.276 | 100.2614 | 1.0146 | 1.0294 | No | No
Gunge | Blurk | mg/kg | 105.985 | 104.9179 | 1.067 | 1.1386 | No | No
Gunge | Blurk | mg/kg | 104.902 | 103.5232 | 1.3788 | 1.9011 | No | No
Gunge | Blurk | mg/kg | 104.1672 | 102.3792 | 1.788 | 3.1969 | No | No
Gunge | Blurk | mg/kg | 102.1269 | 100.2742 | 1.8526 | 3.4322 | No | No
Gunge | Blurk | mg/kg | 105.4317 | 103.5315 | 1.9002 | 3.6109 | No | No
Gunge | Blurk | mg/kg | 95.3173 | 92.8904 | 2.4269 | 5.8899 | No | No
Gunge | Blurk | mg/kg | 102.0571 | 99.1805 | 2.8766 | 8.2748 | No | No
Gunge | Blurk | mg/kg | 97.7951 | 94.0272 | 3.7679 | 14.1967 | No | No
Gunge | Blurk | mg/kg | 101.0573 | 96.8751 | 4.1822 | 17.4907 | No | No
Gunge | Blurk | mg/kg | 96.0386 | 91.78 | 4.2585 | 18.1349 | No | No
Gunge | Blurk | mg/kg | 100.0876 | 95.7473 | 4.3403 | 18.8381 | No | No
Gunge | Blurk | mg/kg | 105.6838 | 100.9948 | 4.689 | 21.9871 | No | No
Gunge | Blurk | mg/kg | 100.2053 | 94.8513 | 5.354 | 28.6657 | No | No
Gunge | Blurk | mg/kg | 106.0805 | 100.6747 | 5.4058 | 29.2229 | No | No
Gunge | Blurk | mg/kg | 104.6852 | 98.8552 | 5.83 | 33.9886 | No | No
Gunge | Blurk | mg/kg | 106.0313 | 99.3376 | 6.6937 | 44.8055 | No | No
Gunge | Blurk | mg/kg | 101.2831 | 94.5202 | 6.7629 | 45.737 | No | No
Gunge | Blurk | mg/kg | 104.8101 | 97.6014 | 7.2087 | 51.9649 | No | No
Gunge | Blurk | mg/kg | 104.6224 | 93.2723 | 11.3501 | 128.8254 | No | No
Gunge | Blurk | mg/kg | 98.9215 | 86.2953 | 12.6262 | 159.4219 | No | No
Gunge | Blurk | mg/kg | 120 | 98.1932 | 21.8068 | 475.5344 | No | No

## ANOVA
A | B | C | D | E | F | G
102.9046 | 103.3453 | 97.0692 | 109.8437 | 102.0203 | 101.3049 | 96.945
104.4316 | 102.6662 | 97.3956 | 111.2901 | 99.0691 | 102.3136 | 97.321
106.127 | 103.7601 | 100.0519 | 112.1121 | 102.0938 | 100.2226 | 98.5264
103.9425 | 101.6088
103.2029 | 103.5902

## ANOVA (2)
A | B | C | D | E | F | G
102.9046 | 103.3453 | 97.0692 | 109.8437 | 102.0203 | 101.3049 | 96.945
104.4316 | 102.6662 | 97.3956 | 111.2901 | 99.0691 | 102.3136 | 97.321
106.127 | 103.7601 | 100.0519 | 112.1121 | 102.0938 | 100.2226 | 98.5264
103.9425 | 101.6088 | 99.0952 | 106.0032 | 101.8916 | 101.4836 | 101.1999
103.2029 | 103.5902 | 98.7876 | 110.8156 | 105.1439 | 103.0305 | 99.4713

## Bias
| U(Ref Conc), % | 0.021922
| Average Bias, % | -3.7822
| sd (Bias), % | 3.4559
| U(Bias), % | 3.456
| Bias Significance | Insignificant
Type | Reference | Date | Unit | Matrix | Reference Mean | sd | n | Lab Result | % sd | Bias | % Bias
Proficiency | Dummy | 2017-01-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 98.5824 | 0.098039 | -3.4176 | -3.3506
Proficiency | Dummy | 2017-02-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 96.4829 | 0.098039 | -5.5171 | -5.4089
Proficiency | Dummy | 2017-03-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 105.0134 | 0.098039 | 3.0134 | 2.9543
Proficiency | Dummy | 2017-04-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 91.7071 | 0.098039 | -10.2929 | -10.0911
Proficiency | Dummy | 2017-05-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 98.293 | 0.098039 | -3.707 | -3.6343
Proficiency | Dummy | 2017-06-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 102.804 | 0.098039 | 0.80395 | 0.78819
Proficiency | Dummy | 2017-07-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 95.4848 | 0.098039 | -6.5152 | -6.3875
Proficiency | Dummy | 2017-08-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 101.2466 | 0.098039 | -0.75344 | -0.73866
Proficiency | Dummy | 2017-09-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 98.0416 | 0.098039 | -3.9584 | -3.8807
Proficiency | Dummy | 2017-10-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 102.2273 | 0.098039 | 0.22733 | 0.22287
Proficiency | Dummy | 2017-11-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 98.6134 | 0.098039 | -3.3866 | -3.3202
Proficiency | Dummy | 2017-12-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 97.006 | 0.098039 | -4.994 | -4.896
Proficiency | Dummy | 2018-01-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 96.6543 | 0.098039 | -5.3457 | -5.2409
Proficiency | Dummy | 2018-02-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 95.908 | 0.098039 | -6.092 | -5.9726
Proficiency | Dummy | 2018-03-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 106.8303 | 0.098039 | 4.8303 | 4.7356
Proficiency | Dummy | 2018-04-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 99.3243 | 0.098039 | -2.6757 | -2.6233
Proficiency | Dummy | 2018-05-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 99.0409 | 0.098039 | -2.9591 | -2.9011
Proficiency | Dummy | 2018-06-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 99.892 | 0.098039 | -2.108 | -2.0667
Proficiency | Dummy | 2018-07-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 97.4812 | 0.098039 | -4.5188 | -4.4302
Proficiency | Dummy | 2018-08-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 100.7689 | 0.098039 | -1.2311 | -1.207
Proficiency | Dummy | 2018-09-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 97.4888 | 0.098039 | -4.5112 | -4.4228
Proficiency | Dummy | 2018-10-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 100.2331 | 0.098039 | -1.7669 | -1.7322
Proficiency | Dummy | 2018-11-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 96.7663 | 0.098039 | -5.2337 | -5.1311
Proficiency | Dummy | 2018-12-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 93.1195 | 0.098039 | -8.8805 | -8.7064
Proficiency | Dummy | 2019-01-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 96.0689 | 0.098039 | -5.9311 | -5.8148
Proficiency | Dummy | 2019-02-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 98.1992 | 0.098039 | -3.8008 | -3.7263
Proficiency | Dummy | 2019-03-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 100.8114 | 0.098039 | -1.1886 | -1.1653
Proficiency | Dummy | 2019-04-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 91.7274 | 0.098039 | -10.2726 | -10.0712
Proficiency | Dummy | 2019-05-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 93.3216 | 0.098039 | -8.6784 | -8.5082
Proficiency | Dummy | 2019-06-01 | mg/kg | Grunge | 102 | 0.1 | 20 | 95.1267 | 0.098039 | -6.8733 | -6.7385

## Linearity
Conc | Response
0 | 0
10 | 12.2
20 | 22.4
50 | 53
100 | 104
200 | 206

## LOD-LOR
sd | 0.038355
LOD | 0.11506
LOR | 0.38355
Result | 1
1 | 2.0246
2 | 2.0309
3 | 2.03
4 | 2.0033
5 | 2.0693
6 | 2.0053
7 | 1.9763
8 | 1.9458
9 | 1.9501
10 | 1.9941

## Std_Add
Addition | Abs
0 | 31
10 | 40
20 | 51
30 | 60

## XY_Comparison
Product | Old | New
A | 77.91 | 76.49
A | 78.55 | 77.58
A | 77.9 | 77.79
A | 77.56 | 78.7
A | 78.22 | 78.04
A | 78.18 | 77.55
A | 76.36 | 77.91
B | 26.6 | 30.01
B | 26.95 | 28.03
B | 26.28 | 27.8
C | 49.75 | 50.39
C | 49.28 | 47.8
C | 49.42 | 49.76
C | 50.12 | 48.83
C | 49.19 | 48.98
C | 50.71 | 48.85
C | 47.89 | 47.73

## Key
Name | Parameter
Analyte | Kryptonite
Unit | mg/kg
Response | Absorbance